Annex 3: Policy on Accounting and Settlement

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

**Version History Table**

|  |  |
| --- | --- |
| **Date** | **Description** |
| 14/04/2019 | SAFA entry into force |
| 23/05/2019 | SAFA Amendment 1 is applied to Articles A-1 and A-2, after SAFA Parties’ and MC approval. Pending NRA approval. |
| 07/04/2020 | SAFA Amendment 4 is applied to Articles A-1 and A-2, after SAFA Parties’ and MC approval. Pending NRA approval. |
| 16/02/2021 | Editorial modifications are applied to Introduction and Part A, after RG CE acknowledgment |
| 16/04/2021 | SAFA Amendment 11 is applied to Part C, after SAFA Parties’ approval |
| 26/07/2021 | Erratum : Incorrect references in Part C |
| 30/11/2021 | SAFA Amendment 17 is applied to Part C, after SAFA Parties’ approval |
| 15/02/2022 | Version history table added |
| 11/03/2022 | SAFA Amendment 21 is applied to Articles C-6-2-1 and C-12-4, after SAFA Parties’ approval |
|  |  |

Table of Contents

[Introduction 5](#_Toc107495693)

[A Methodologies, conditions and values subject to all regulatory authorities approval 6](#_Toc107495694)

[A-1 Common settlement rules applicable to intended exchanges of energy according to Article 50(3) EBGL (mandatory & NRA approval) 6](#_Toc107495695)

[A-2 Common settlement rules applicable to all unintended exchanges of energy according to Article 51(1) EBGL (mandatory & NRA approval) 6](#_Toc107495696)

[B Methodologies, conditions and values subject to approval by all TSOs 7](#_Toc107495697)

[C Methodologies, conditions and values agreed among the members of RGCE 8](#_Toc107495698)

[C-1 Definitions 8](#_Toc107495699)

[C-1-1 Accounting process 8](#_Toc107495700)

[C-1-2 Settlement process 8](#_Toc107495701)

[C-1-3 Cross-border Energy Exchanges 8](#_Toc107495702)

[C-1-4 Meter Measurement Data 9](#_Toc107495703)

[C-1-5 Accounting Point 9](#_Toc107495704)

[C-1-6 Accounting Data 10](#_Toc107495705)

[C-1-7 Working day 10](#_Toc107495706)

[C-1-8 Financial settlement 10](#_Toc107495707)

[C-1-9 TSO-TSO Settlement Period 10](#_Toc107495708)

[C-1-10 Settlement Price 11](#_Toc107495709)

[C-1-11 Settlement Results 11](#_Toc107495710)

[C-1-12 Settlement Reports 11](#_Toc107495711)

[C-1-13 Coordination Centre 11](#_Toc107495712)

[C-1-14 Invoicing Entity 12](#_Toc107495713)

[C-2 Standards – general process overview 12](#_Toc107495714)

[C-2-1 Overview 12](#_Toc107495715)

[C-2-2 Workflow for the accounting and settlement process 12](#_Toc107495716)

[C-2-3 Consideration of time shift CET - CEST 13](#_Toc107495717)

[C-2-4 Area Consideration 14](#_Toc107495718)

[C-3 Standards - General rules 15](#_Toc107495719)

[C-3-1 Accounting and Settlement Period 15](#_Toc107495720)

[C-3-2 Availability 15](#_Toc107495721)

[C-3-3 Local exceptions 15](#_Toc107495722)

[C-3-4 Consideration of DC-links 15](#_Toc107495723)

[C-3-5 Modification of the accounting process and related data 15](#_Toc107495724)

[C-3-6 Rounding rules 15](#_Toc107495725)

[C-3-7 Electronic Data Exchange 16](#_Toc107495726)

[C-3-8 Troubleshooting 16](#_Toc107495727)

[C-4 Standards - Bilateral agreement for the accounting/settlement process 17](#_Toc107495728)

[C-4-1 List of tie-lines, meter measurement and accounting data 17](#_Toc107495729)

[C-4-2 Data format 17](#_Toc107495730)

[C-4-3 Trouble shooting 17](#_Toc107495731)

[C-4-4 Resolution 18](#_Toc107495732)

[C-4-5 Consideration of line losses 18](#_Toc107495733)

[C-5 Standards - Accounting process 19](#_Toc107495734)

[C-5-1 Overview 19](#_Toc107495735)

[C-5-2 Accounting data exchange between TSOs in the SA CE 19](#_Toc107495736)

[C-5-3 Workflow of accounting process 21](#_Toc107495737)

[C-6 Standards - Settlement process 23](#_Toc107495738)

[C-6-1 Overview 23](#_Toc107495739)

[C-6-2 Workflow of settlement process 23](#_Toc107495740)

[C-6-3 Extraordinary measures 25](#_Toc107495741)

[C-7 Guidelines 26](#_Toc107495742)

[C-7-1 Troubleshooting for the accounting process. 26](#_Toc107495743)

[C-7-2 Timeframe for changing the accounting data 27](#_Toc107495744)

[C-7-3 Timeframe for changing the verified ANES 27](#_Toc107495745)

[C-7-4 Timeframe for changing other inputs 27](#_Toc107495746)

[C-8 Entities 28](#_Toc107495747)

[C-9 Remuneration 28](#_Toc107495748)

[C-10 Transitory provision 33](#_Toc107495749)

[C-11 Termination by Coordination Centres 33](#_Toc107495750)

[C-12 Supplements 34](#_Toc107495751)

[C-12-1 Equation terms 34](#_Toc107495752)

[C-12-2 Timetables for daily accounting and settlement process 34](#_Toc107495753)

[C-12-3 Registration form for Accounting Process including Tie-Lines 36](#_Toc107495754)

[C-12-4 List of LFC Blocks performing Accounting and Settlement Process on LFC Block level 36](#_Toc107495755)

[C-13 The specific regulations with regard to a withholding tax due in Poland 37](#_Toc107495756)

# Introduction

This document is part of the Synchronous Area Framework Agreement for the Synchronous Area CE (SA CE).

All times mentioned in this document are related to CET respectively CEST. Additional details of the Accounting and Settlement Process are described in the following documents:

ENTSO-E ACCOUNTING AND FINANCIAL SETTLEMENT OF KF, ACE AND RAMPING PERIOD (FSKAR) IMPLEMENTATION GUIDE

currently published on https://www.entsoe.eu/publications/electronic-data-interchange-edi-library/.

# Methodologies, conditions and values subject to all regulatory authorities approval

The following section includes all methodologies, conditions and values jointly developed by all TSOs from the Synchronous Area CE and which are subject to approval by all regulatory authorities.

## Common settlement rules applicable to intended exchanges of energy according to Article 50(3) EBGL (mandatory & NRA approval)

The SAFA Parties acknowledge that the proposal “All continental European TSOs’ proposal for common settlement rules for intended exchanges of energy as a result of the frequency containment process and ramping period in accordance with the Article 50(3) of Commission Regulation (EU) 2017/2195 of 23 November 2017 establishing a guideline on electricity balancing” that has been approved according to Article 4 EBGL on 09 March 2020 and approved by the competent regulatory authorities in accordance with Article 5(3) EBGL as of 16 June 2020 is accepted by all Parties. The Parties agree to apply this methodology as it is agreed by the TSOs and approved by the NRAs.

Amendment Proposals that will be developed on the basis of a Request for Amendments by the relevant regulatory authorities according to Article 6 of the EB GL will be processed by applying the regular amendment rules according to Article 14 of the SAFA.

## Common settlement rules applicable to all unintended exchanges of energy according to Article 51(1) EBGL (mandatory & NRA approval)

The SAFA-Parties acknowledge that the document “All continental European TSOs’ proposal for common settlement rules for all unintended exchanges of energy in accordance with Article 51(1) of Commission Regulation (EU) 2017/2195 of 23 November 2017 establishing a guideline on electricity balancing” that has been approved according to Article 4 EBGL on 09 March 2020 and approved by the competent regulatory authorities in accordance with Article 5(3) EBGL as of 16 June 2020 is accepted by all Parties. The Parties agree to apply this methodology as it is agreed by the TSOs and approved by the NRAs.

Amendment Proposals that will be developed on the basis of a Request for Amendments by the relevant regulatory authorities according to Article 6 of the EB GL will be processed by applying the regular amendment rules according to Article 14 of the SAFA.

# Methodologies, conditions and values subject to approval by all TSOs

The Parties acknowledge that at the moment of entry into force of the Agreement there is no obligation arising from the applicable legislation according to Article 2.1 of the SAFA to include Part B within the subject scope of the Policy on Accounting and Settlement.

# Methodologies, conditions and values agreed among the members of RGCE

The following section includes all methodologies, conditions and values which are jointly developed and agreed among the SAFA parties.

## Definitions

### Accounting process

The Accounting Process is the validation of the metered data (usually located at an interconnecting Tie-Line of a TSO) and of the resulting Accounting Data. The purpose of the daily accounting is to provide a validated set of Accounting Data to the Coordination Centres (CCs) in order to calculate every day the actual state of the Account of Unintentional Deviation.

The purpose of the accounting process is the calculation of the volumes of intended exchanges of energy as a result of the frequency containment process (FCP energy), the ramping period energy (RP energy) and Unintended Exchanges (UE energy), for each TSO-TSO settlement period.

### Settlement process

The purpose of the Settlement Process is the determination of the settlement prices for the intended exchanges of energy as a result of the frequency containment process (FCP energy), the ramping period energy (RP energy) and Unintended Exchanges (UE energy), for each TSO-TSO settlement period and the final monetary values for each LFC area/block and settlement period. The Settlement Process concludes with the distribution of results through the Settlement Reports

### Cross-border Energy Exchanges

The cross-border energy exchange consists of the following:

**Cross-border flows**

The sum of the cross-border Tie-Line flows on a border between two TSOs / LFC Areas / LFC Blocks, as taken from the Accounting Data.

**Aggregated netted external schedules**

**This means the cross-border energy exchange through Aggregated Netted External Schedules (ANES) according to SOGL. This includes the cross-border energy exchanged as Replacement Reserves and Emergency Assistance as well.**

**Virtual tie-line exchanges**

**Virtual Tie-Line is** defined **in SOGL. The energy exchanged through Virtual Tie-Lines can be manual Frequency Restoration Reserves, automatic Frequency Restoration Reserves and Imbalance Netting. Moreover, there might be other processes that use Virtual Tie-Lines for the exchange of energy. Virtual tie-line exchanges are established within the Accounting Data.**

**Frequency Containment Process Energy or FCP Energy**

**refers to the intended exchanges of energy as a result of frequency containment process. It is equal to the product of the notified K-factor with the average frequency deviation for each TSO-TSO settlement period and each LFC area.**

**K-factor**. K-factor represents the assumed reaction of a LFC area/block to a frequency deviation. Defined in the SOGL as a value expressed in Megawatts per Hertz (‘MW/Hz’), which is as close as practical to, or greater than the sum of the auto-control of generation, self-regulation of load and of the contribution of frequency containment reserve relative to the maximum steady-state frequency deviation. The K-factors are provided by each TSO for its own LFC area/block.

**Δ*f*** (frequency deviation). The Δ*f* represents the average value of the secondly frequency deviations relative to the nominal system frequency in the Synchronous Area per TSO-TSO settlement period. The value of Δ*f* is expressed in mHz.

Where is the average measured value of the frequency per TSO-TSO settlement period in the Laufenburg node of the Synchronous Area.

**Ramping Period Energy or RP Energy**

**Energy exchanged as a result of ramping between different ANES values (ANES n-1 and ANES n , where n and n-1 refer to adjacent TSO-TSO settlement periods). The RP energy is the difference between a step change and a ramped change, where the ramp is linear starting 5 minutes before the change and ending 5 minutes after the change.**

**Unintended Energy Exchange or UE Energy**

**This means the unintended cross-border exchange of energy according to EBGL. is equal to the remaining energy exchanges, which are not included due to the verified ANES, the virtual tie-line exchanges, the delivery of FCR (FCP energy) or the realization of ramps in the control programs (RP energy).**

### Meter Measurement Data

The physical energy exchange is registered per Tie-Line, by meter devices installed at substations, which are located at each end of the Tie-Line. There must be at least one main meter device and up to “n” back up meter devices per Tie-Line on each end of the Tie-Line.

### Accounting Point

The Accounting Point is the agreed energy delivery point between two TSOs. The Accounting Point can be placed anywhere on the Tie-Line in accordance with the agreement between two TSOs. Based on the position of Accounting Point, Accounting Data for this Accounting Point is calculated. There must be only a single Accounting Point per Tie-Line.

In case of a Virtual Tie-Line, the location of the Accounting Point is agreed bilaterally between adjacent TSOs. The power flows of the TSOs can also be based on values which are agreed upon between the involved TSOs and are considered in the Accounting Process.

### Accounting Data

Accounting Data for each Tie-Line is the result of an agreement between two TSOs. One TSO proposes the values using the rules described in C-5-2, and the second TSO confirms the proposed values.

Accounting data is derived from validated metered data in one of the following ways (as agreed upon between TSOs sharing a Tie-Line):

* one to one copy of the meter measurement data (located at the accounting point),
* a calculation using a given formula, and either one or more meter measurement data (e.g. in order to consider line losses).

Accounting data is considered as a value per Tie-Line.

Virtual Tie-Lines are included in the Accounting Data and must be considered as shown in Figure 1. The physical energy exchange between LFC Area 1 and LFC Area 2 is measured by M1+M2 and includes the physical flow measured by M3. The measurement M3 is used as an offset to the set-point of the LFC Controller. Additionally, it must be subtracted from the Accounting Data for accounting.



Figure 1: The consideration of virtual tie-line

### Working day

The Working Day is the calendar day except Saturdays, Sundays and 4 holidays: Christmas day (25th of December), New Year’s day (1st of January), Easter Monday and Ascension Day.

### Financial settlement

Process established among RG CE TSOs in order to financially compensate the intended exchanges of energy resulting from the frequency containment process and ramping periods, as well as unintended exchanges of energy. The process is the scope of this Policy on Accounting and Settlement.

### TSO-TSO Settlement Period

The TSO-TSO Settlement Period is the resolution or time period for which the Settlement Process is performed. The TSO-TSO Settlement Period corresponds to 15 min.

### Settlement Price

The Settlement Price is the price for ERP, FCP Energy and UE used for settling financially the volumes of ERP, FCP Energy and UE for each TSO-TSO settlement period. This is an uniform price for the Synchronous Area with the only exception of the FCP Energy and UE between two LFC Area connected only by HVDC cable for which the price may be different.

The Settlement Price of ERP is 0€/MWh.

### Settlement Results

The Settlement Results consist of volumes, prices and monetary values (equivalent to the multiplication of volumes and corresponding prices) for each of and .

### Settlement Reports

The results of the accounting and settlement processes are summarized into three different reports, which are sent by the Coordination Centres (CCs) to the TSOs. These reports are the Daily Settlement Report (DSR), the Daily Settlement Prices Report (DSPR) and the Monthly Settlement Report(MSR). The following table gives an overview about the contents of the individual reports.

Table 1: Content of the settlement reports

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Daily Settlement Report (DSR)** | **Daily Settlement Prices Report (DSPR)** | **Monthly Settlement Report (MSR)** |
| Timeframe: | 1 day | 1 day | 1 month |
| Scheduled energy exchanges (ANES) [[1]](#footnote-2) - MWh | x |  |  |
| Intended Exchanges (Virtual Tie-Lines) – MWh | x |  |  |
| Accounting Tie-line flows - MWh | x |  |  |
| K-factors – MW/Hz | x |  |  |
| Frequency Deviation – mHz | x |  |  |
| Volumes of FCP Energy – MWh | x | x | x |
| Volumes of RP Energy – MWh | x | x | x |
| Volumes of UE Energy – MWh | x | x | x |
| Day-Ahead Market Price (DAMP) - €/MWh | - | x | - |
| Price for FCPE - €/MWh |  | x | x |
| Price for RPE - €/MWh |  | x | x |
| Price for UE - €/MWh |  | x | x |
| Monetary values for FCPE - € | - | x | x |
| Monetary values for RPE - € | - | x | x |
| Monetary values for UE - € | - | x | x |

### Coordination Centre

The Coordination Centres are responsible and shall perform the following tasks within the financial settlement for:

* Receiving Accounting Data from TSOs through SOVA files to perform the Accounting Process
* Perform the Accounting Process and Settlement Process as described in this Policy
* Calculating the Settlement Results as reflected in the DSR, DSPR and MSR, submitted to the TSOs
* Submitting the monthly Settlement Results to the Invoicing Entity for invoicing
* Submitting the actual cost sharing key to the Invoicing Entity

### Invoicing Entity

The Invoicing Entity is an external party to invoice TSOs according to the results of the Financial Settlement.

## Standards – general process overview

### Overview

In the SA CE the energy volumes corresponding to Frequency Containment Process (FCP) Energy, Ramping Period (RP) Energy, and Unintended Exchange (UE)) are compensated financially between TSOs.

### Workflow for the accounting and settlement process

**Accounting process**

The Accounting Process begins with the validation of the metered data by TSOs (usually located at an interconnecting Tie-Line of a TSO) and of the resulting Accounting Data. The purpose of the daily accounting is to provide a validated set of Accounting Data to the Coordination Centres in order to perform the settlement process every day.

Accounting process by the TSOs: TSOs have to finish the daily accounting process on the first working day after energy delivery, except in cases of unavailability of accounting offices (see C-3-3) or data mismatch (see C-3-8 and C-5-2-4). It starts with the initial exchange of metered data for each Tie-Line between neighbouring TSOs, continues with the establishment of the Accounting Data for each Tie-Line, and the transmission of the resulting Accounting Data up to the Coordination Centres.

Accounting process by the Coordination Centres: Upon reception of the Accounting Data (including VTL), the frequency deviations from Swissgrid and the K-factors from the TSOs, the Coordination Centres perform the determination of energy volumes corresponding to Frequency Containment Process (FCP) Energy, Ramping Period (RP) Energy, and Unintended Exchange (UE) by comparison with the sum of the LFC areas schedules (ANES) and application of the corresponding formulas. Afterwards, a Daily Settlement Report (DSR) is sent to each TSO. The TSOs have the opportunity, to review the reported settlement results within a given deadline according to the ACCOUNTING AND FINANCIAL SETTLEMENT OF KF, ACE AND RAMPING PERIOD (FSKAR) IMPLEMENTATION GUIDE. The expiration of the deadline concludes the Accounting Process and the daily settlement volumes are considered final.

**Settlement process**

The daily settlement starts after the daily Accounting Process for all TSOs has been concluded and the Coordination Centres(CCs) have received all Day-Ahead Market Prices (DAMPs). The Coordination Centres perform the calculation of the Settlement Price for FCP Energy, RP Energy and UE. Following this, the Daily Settlement Prices Report (DSPR) is consolidated and distributed among the TSOs. The TSOs have the opportunity to review the reported settlement results within a given deadline according to the ACCOUNTING AND FINANCIAL SETTLEMENT OF KF, ACE AND RAMPING PERIOD (FSKAR) IMPLEMENTATION GUIDE. After expiration of this deadline, the Daily Settlement Process is concluded and the daily settlement prices are considered final.

The monthly Settlement Process is performed after the Daily Settlement Process is concluded for each day of the calendar month. It covers the correction of daily settlement (if any) and consolidation of the results of all the DSPR. Coordination Centres send the consolidated results to each TSO through the Monthly Settlement Report (MSR). The TSOs shall confirm the MSR according to the ACCOUNTING AND FINANCIAL SETTLEMENT OF KF, ACE AND RAMPING PERIOD (FSKAR) IMPLEMENTATION GUIDE. After receiving all confirmations from the TSOs, the Settlement Process is concluded and the monthly results are considered final.




Figure 2. Workflow of the accounting and settlement process

### Consideration of time shift CET - CEST

For the day with a duration of 23 hours, the period from 02:00 to 03:00 shall not be considered.

For the day with a duration period of 25 hours, the period from 02:00 to 03:00 shall be considered to be extended to two hours for the calculation.

### Area Consideration

Per default, the Accounting and Settlement Process shall be performed on LFC area level. This requires that each LFC Area Operator shall send the relevant data for performing the process to the Coordination Centres.

Alternatively, LFC blocks may agree on performing Accounting and Settlement Process on LFC Block level, for which the LFC Block Operator shall send the relevant data aggregated for the LFC Block to the Coordination Centres, if all LFC areas of the LFC Block jointly agree on this. The list of LFC Blocks performing Accounting and Settlement Process on LFC Block level is included in C-10-4.

The Day-Ahead Market Prices (DAMPs) are determined per LFC Block as detailed in Chapter C-6-2-1

## Standards - General rules

### Accounting and Settlement Period

The daily accounting and settlement is done for the day “D” on the next Working Day.

The monthly settlement is done for the calendar month.

### Availability

Accounting offices have to be available on working days from 08:00 to 11:30 and 13:30 to 16:00 CET respectively CEST.

### Local exceptions

In case of unavailability of an accounting office, e.g. system maintenance, local holidays, the office in question must inform the Coordination Centre and other affected TSOs at least 4 days before. In case of unexpected unavailabilities, as soon as possible.

### Consideration of DC-links

DC links between CE LFC areas will be considered in the SA CE Accounting and Settlement process, only if they are considered by both connecting TSOs in the exchange programs and in the LFC Controller.

DC links between synchronous areas cannot be considered in the SA CE accounting and settlement process.

### Modification of the accounting process and related data

The SAFA parties must provide the complete and correct information about all issues affecting the Accounting Process e.g. new or changes of tie lines (including DC-links and virtual tie-lines), etc.

In case of changes the requesting TSO must inform the affected TSO and Coordination Centre at least 30 calendar days in advance by means of the registration form in C-12-3.

### Rounding rules

Generally, the data exchanged is in MWh with 3 decimal places (kWh precision).

The following rounding rules will be considered in the calculations by Coordination Centres:

* For input data:
  + Energy volumes (MWh) with 3 decimal places
  + K-factors (MW/Hz) with 3 decimal places.
  + DAMP (Eur/MWh) with 2 decimal places (cent precision)
  + Frequency deviation (mHz) with 3 decimal places
* Calculation steps:
  + Calculation of RP energy: MWh with 3 decimal places (kWh precision), rounded commercially. Rounding differences are taken into account by the Coordination Centres respectively, to ensure the sum of RP energy is zero.
  + Calculation of FCP energy: MWh with 3 decimal places (kWh precision), rounded commercially.
  + Calculation of UE energy: MWh with 3 decimal places (kWh precision), rounded commercially. Rounding differences are taken into account by the Coordination Centres respectively, to ensure the sum of UE and FCP energy is zero.
  + Calculation of price for FCP energy and UE energy: Euro with 2 decimal places, rounded commercially
  + Monetary values (settlement volumes multiplied the prices): Euro with 2 decimal places, rounded commercially. Rounding differences are taken into account by the Coordination Centres respectively, to ensure the sum is zero.
* For sake of clarity:
  + 24,0005 rounds to 24,001;
  + -24,0005 rounds to -24,001
  + and 24,00049 rounds to 24,000

### Electronic Data Exchange

Electronic data exchange for accounting and settlement is required using e-mail via EH. If the e-mail via EH is disturbed, an electronic back-up must be agreed such as e-mail via internet . If electronic communication is generally disturbed, fax or phone must be used as last back-up.

### Troubleshooting

If the Accounting and Settlement Process cannot be performed like described, the affected TSO must inform without undue delay the affected TSO and the related Coordination Centre. The Coordination Centres then inform all SA CE affected TSOs without undue delay. Both Coordination Centres will agree on a solution and inform the related TSOs without undue delay.

## Standards - Bilateral agreement for the accounting/settlement process

In order to perform the Accounting and Settlement Process in a correct manner the partners of a common border have to agree bilaterally on accounting metering data with respect to the following document: ENTSO-E Guide for Agreement on Data Exchange Process for Accounting of Unintentional Deviation and including the following items:

### List of tie-lines, meter measurement and accounting data

TSOs have to agree bilaterally upon the list of Tie-Lines and Virtual Tie-Lines to be included in the SA CE Accounting Process according to the ENTSO-E Guide for Agreement on Data Exchange Process for Accounting of Unintentional Deviation. This list also has to provide information about meter measurement and Accounting Data. It must provide:

* Names of both involved TSOs
* Name of Tie-Lines
* Name and related TSO of substations Tie-Line is connecting
* List of measurement data to be used to derive the accounting value
* List of measurement data to be exchanged
* EIC for each meter measurement data to be exchanged
* EIC of accounting point
* If line losses to be considered, agreement on formula to calculate Accounting Data

This agreed list must be transmitted towards the related Coordination Centres for SA CE publication. The data from the Accounting Point must be used by all SA CE bodies involved as unique representation of the physical energy exchange concerning the Tie-Line.

### Data format

The SAFA parties have to use the data exchange format for metering, accounting and settlement:

* SOMA: System Operator Meter Alignment
* SOVM: System Operator Validated Measurements
* SOAM: System Operator Accounting Data Matching
* SOVA: System Operator Validated Accounting data
* DSR: Daily Settlement Report
* DSPR: Daily Settlement Prices Report
* MSR: Monthly Settlement Report
* K-factors
* DAMP
* Frequency Deviation

according to the bilateral agreement and the ACCOUNTING AND FINANCIAL SETTLEMENT OF KF, ACE AND RAMPING PERIOD (FSKAR) IMPLEMENTATION GUIDE.

### Trouble shooting

In order to be prepared in case of problems, TSOs have to agree bilaterally on the rules how to deal in case of trouble shooting (missing meter measurement data, inconsistent data, unavailable data, ...) In this case TSOs have to agree bilaterally on a substitute value for every time unit in question and inform their related Coordination Centres or/and LFC Block immediately (see C-7-1). Substitute values are to be submitted within the deadlines defined for submission of Accounting Data (see C-12-2)

### Resolution

TSOs must agree on the resolution for the validation of the energy exchange on their common border. The resolution for the exchange of meter measurement and Accounting Data is by default the integer value of MWh for the time frame ¼ h. If bilaterally agreed Accounting Data can also be in MWh with 3 decimal digits.

### Consideration of line losses

TSOs have to agree on the way to consider line losses. This can be done by agreement defining the Accounting Point e.g. on the basis of the Accounting Data.

## Standards - Accounting process

### Overview

In the framework of the Accounting Process, Coordination Centres (CCs) calculate:

* The volumes of FCP energy and RP energy for each TSO-TSO settlement period. The inputs needed for these calculations shall be:
  + The K-factor per LFC area or LFC block;
  + The average of the frequency deviation over each TSO-TSO settlement period;
  + The aggregated external schedules (ANES)
* The volumes of UE energy for each TSO-TSO settlement period. The inputs needed for these calculations shall be:
  + The Accounting Data per TSO-TSO settlement period and per LFC area or LFC Block of SA CE, including exchanges of energy accounted through a virtual tie-line;
  + All aggregated netted external schedules (ANES);
  + The volumes of FCP Energy and UE Energy

### Accounting data exchange between TSOs in the SA CE



Figure 3: Overview of the Data Exchange Process between TSOs

**Principles of meter measurement data exchange**

Each TSO assembles and sends his meter measurement data document “System Operator Meter Alignment” (SOMA) to his adjacent TSO (see C-4-1, C-1-7 and Figure 3). Every TSO validates the contents of the SOMA document. The TSOs inform each other about the result of validation.

In case of successful validation, the meter measurement data document “System Operator Validated Measurements” (SOVM) is assembled and sent to the accounting data system of the TSO in order to calculate the accounting data (e.g. consideration of losses).

**Principles of accounting data exchange between TSO**

The calculated Accounting Data is assembled into a document “System Operator Accounting Data Matching” (SOAM) and must be exchanged between involved TSOs. One TSO sends the values that have been calculated and that will serve as the accounting point data. If the receiving TSO agrees to the values, then a positive acknowledgement is sent. If, however, the receiving TSO does not agree, then a negative acknowledgement is sent. Both TSOs send the SOAM after successful matching (SOVA) to the related Coordination Centres. If Accounting Data is based on substitute meter measurement data, the two involved TSO have time to adjust the data during the Accounting Process. If data is not adjusted by the TSO and data received in SOVA matches, this data is considered as final on the dedicated SA CE border. If data does not match, the accounting mismatch rules (see C-7-1) will be applied by the dedicated SA CE level (see Table 2).

#### Metering requirements

**The following metering requirements must be fulfilled by the metering devices on both ends of the Tie-Line by both connecting TSOs.**

**Voltage and current transformer**

Voltage and current transformers have to be operated at each metering point which data is used as source for the determination of an Accounting Point. Voltage and current transformers at the Accounting Points must have an accuracy class rating of 0.2. Current transformers must have 2 cores for measurement purposes.

**Electricity metering**

On the basis of the current and voltage values measured by the transformers, the electricity me­ters determine the active energy flow in both directions related to a given time frame. The electricity meters at the accounting points must have an accuracy class rating of 0.2.

**Redundancy**

Metering points must be equipped with main and check meters at each Tie-Line. Main and check meter must be connected each to a separate core of the current transformer. Equivalent solution to this is allowed.

**Transformer cables**

Due to the accuracy of the whole metering, voltage transformer cables must be designed in such a way that a voltage drop is reduced to 0.1% or less of the nominal voltage.

**Telecounter**

The task of a telecounter is the acquisition of metered values from the electricity meters at the metering point and the teletransmission of this data to the central accounting office of every partner concerned (remote meter reading). The counters at a metering point must be doubled.

#### Availability and timing for meter measurement data exchange process

The SAFA parties must follow the deadlines outlined in C-12-2.

#### Availability and timing of accounting data exchange process

The SAFA parties must follow the deadlines outlined in C-12-2.

#### Troubleshooting procedure

The TSOs have to apply bilaterally the agreed rules for troubleshooting (see C-7-1).

The TSO are obliged to send their available or substitute Accounting Data even if values do not match at deadline (see C-12-2).

### Workflow of accounting process

The workflow of the Accounting Process is described in the ACCOUNTING AND FINANCIAL SETTLEMENT OF KF, ACE AND RAMPING PERIOD (FSKAR) IMPLEMENTATION GUIDE.

#### Inputs

The Verification Platform provides the scheduled exchanges (ANES) to the Coordination Centres.

TSOs with yearly K-factors send them to the Coordination Centres once per year. TSOs participating in the FCR cooperation update these K-factors on a daily basis with 4h-resolution, therefore they are required to additionally send the updated K-factors to the Coordination Centres. System Operator Swissgrid sends the **Δ*f*** to the Coordination Centres.

The submission deadline of these data is the first working day after energy delivery as detailed in the Table 2: Timetable for daily accounting and settlement process.

#### Outputs

The energy exchanges are calculated as follows:

FCP Energy, for each LFC area or LFC block, using the corresponding K-factor, the frequency deviation Δ*f*:

RP Energy for the quarter hour n referring to the scheduled ANES (MW) in quarter-hours n-1 and n+1 (previous and following quarter hours):

UE Energy:

The parameters in the calculations refer to the cross-border energy exchange that is intended (Eie), done through virtual tie lines (EVTL), a result of FCP (EFCP) and ramping period processes (ERP) or unintended (Eue).

The outputs of the accounting function are EFCP, ERP and EUE.

#### Daily Settlement Report

As a result of the Accounting Process, the TSOs receive for their corresponding LFC area the following results through the Daily Settlement Report (DSR), for each TSO-TSO settlement period of the day:

* Scheduled energy exchanges for each border (ANES) – individual schedules will be reported
* The scheduled energy exchanges will include the compensation program, for the transition phase (from compensation programs to financial settlement)
* Intended energy exchange for each Virtual Tie-Line (as reported in SOVA files) – individual tie-line exchanges will be reported
* Metered Tie-Line flows for each Tie-Line (as reported in SOVA files) –per individual Tie-Line
* K-factors
* Frequency Deviation
* Volumes of FCP Energy for each TSO
* Volumes of RP Energy for each TSO
* Volumes of UE Energy for each TSO

The TSOs have 4 Working Days to review the DSR for each day. In case of needed corrections, TSOs shall inform the Coordination Centres immediately and align bilaterally to correct the data. After corrections, Coordination Centres shall send a corrected DSR to the TSOs. This concludes the Accounting Process.

## Standards - Settlement process

### Overview

The daily Settlement Process starts after the finalisation of the daily Accounting Process for all TSOs as well as the reception of DAMP from all TSOs.

In the framework of the Settlement Process, the Coordination Centres determine:

* Settlement Prices for FCP Energy, RP Energy and UE for each TSO-TSO Settlement Period
* Monetary Values for FCP Energy, RP Energy and UE for each TSO-TSO Settlement Period, equivalent to the multiplication of volumes and prices.

The inputs needed for these calculations shall be:

* Results of the Accounting Process: volumes of FCP Energy, RP Energy and Unintended Exchange for each LFC Area or Block
* Day-Ahead Market Prices (DAMPs) per LFC Block

### Workflow of settlement process

#### Inputs

All LFC operators send their **DAMP** (Day-Ahead Market Prices (DAMPs)) per LFC area or block to their Coordination Centres which are responsible for the determination of DAMP for individual LFC blocks according to the following rules:

|  |  |
| --- | --- |
| **LFC block** | **DAMP determination method** |
| AT, BE, BG, CH, CZ, ES, FR, GR, HU, NL, PT, RO, SK, PL | The corresponding bidding zone DAMP is used. |
| DE-LU-DKW | Under the assumption that DK-West is an LFC area by the time of FSkar introduction. Otherwise, DK-West is not considered in the FSkar settlement. |
| SMM | Only the DAMP from bidding zone RS (Serbia - EMS) is considered. |
| LFC Block UA+MD |  |
| SHB |  |
| AL | Imbalance settlement price of the LFC Block is used instead of a Day-Ahead Market Price (DAMP). |
| IT | The DAMP of the BZ bordering with the rest of the SA is used. This means IT-North |

#### Outputs

**Settlement prices**

The calculation of settlement prices for FCP Energy and UE Energy is carried out by the Coordination Centres.

The price for RP energy is 0 €/MWh.

The price for FCP Energy and UE Energy are the same and calculated as follows:

* Frequency – independent component is calculated as a weighted average of the DAMP across CE, with weighting performed according to the absolute value of the volumes of FCP Energy and UE Energy, as follows, where m is an index running over all LFC blocks
* Frequency – dependent component calculated as follows:

The uniform price for Unintended Exchange and FCP Energy corresponds to

The frequency dependant component may be not considered on the UE and FCP Energy between two LFC Areas connected only by HVDC cable. In such case the reference price could correspond to .

**Monetary values**

Based on settlement volumes and the settlement prices the Monetary Values are calculated.

#### Daily Settlement Prices Report and Monthly Settlement Reports

For the Settlement Process the following reports are generated: Daily Settlement Prices reports (DSPR), Monthly Settlement Reports (MSR). The Daily Settlement Prices Report are generated daily, the Monthly Settlement Report is generated monthly. The resolution is in both cases per TSO-TSO Settlement Period.

The reports contain the following information:

* Volume of FCPE for each TSO (as calculated in the accounting process)
* Volume of RPE for each TSO (as calculated in the accounting process)
* Volume of UE for each TSO (as calculated in the accounting process)
* **Day-Ahead Market Price (DAMP) for each LFC block, as used in the settlement process.**
* **Day-Ahead Market Price (DAMP) for each LFC area, for LFC blocks with multiple LFC areas.**
* Price for FCPE for the SA CE (as calculated in the settlement process)
* Price for RPE for the SA CE: 0 €/MWh
* Price for UE for the SA CE (as calculated in the settlement process)
* Monetary values for FCPE for each TSO (as calculated in the settlement process)
* Monetary values for RPE for each TSO (as calculated in the settlement process)
* Monetary values for UE for each TSO (as calculated in the settlement process)

As a result of the daily Settlement Process, Coordination Centres send the DSPR to the TSOs. The TSOs have 4 Working Days to review the DSPR for each day. In case of needed corrections, TSOs shall inform the Coordination Centre immediately and align bilaterally within the deadline to correct the data. After corrections, Coordination Centres shall send a corrected DSPR to the TSOs. This concludes the daily Settlement Process.

After the daily Settlement Process for each day of the calendar month has been concluded, Coordination Centres send the MSR to the TSOs. The TSOs must review the MSR and send Confirmation Document for the MSR within 4 working days.

Once all the MSR have been validated, Coordination Centres send the monthly settlement results (validated settlement volumes, prices end values) to invoicing entity. If confirmations are not received, invoicing is not possible. Invoicing entity send invoices to all TSO. This concludes the Settlement Process

### Extraordinary measures

Extraordinary measures may be proposed and implemented by the Coordination Centres after approval by RGCE Plenary, especially in cases of violations of this Policy. Extraordinary measures should not affect the accounting process. Extraordinary measures can also be possible in case of large frequency deviations, when some TSOs intentionally enter into deviation to help restore the frequency, to ensure that these TSOs are not penalized for such a behaviour.

## Guidelines

### Troubleshooting for the accounting process.

In case of unavailability of meter measurement data or available data but not agreed on time (the limit is 4 working days after the scheduling day), the following procedure is recommended in the following sequence:

* If available, use the check meter values from the Accounting Point substation.
* If available, use the main meter values from the adjacent substation.
* If available, use the check meter values from the adjacent substation.
* If available, use the integrated measurement values from the on-line observation
* Otherwise, the partners involved agree on the methodology to determine substitutes.
* In any case, more flexible procedure for troubleshooting can be agreed in a bilateral way among the affected TSOs, insuring the normal operation of the accounting process.

In case two SA CE bodies are sending mismatching Accounting Data to the Coordination Centre (and LFC Block where applicable) as part of the daily Accounting Process the Coordination Centre (and LFC Block where applicable) should immediately prepare a substitution of values in the following sequence:

* If both TSOs are sending accounting values having “small” mismatch (mismatch as a percentage of the average value, calculated as 2[(A1-B1)/(A1+B1)], up to 10%) to the Coordination Centre (and LFC Block where applicable), the Coordination Centre (and LFC Block where applicable) should use the average of both values as substitute value, where A1 = Accounting Data send for line 1 by TSO A and B1 = Accounting Data send for line 1 by TSO B.
* If both TSOs are sending accounting values having „large“ mismatches or do not sent accounting values at all and telemeasurements of the tie-lines are available to the Coordination Centre (and LFC Block where applicable), the Coordination Centre (and LFC Block where applicable) should use telemeasurements as substitute value.
* If both TSOs are sending accounting values having „large“ mismatches or do not send accounting values at all and telemeasurements are NOT available to Coordination Centre (and LFC Block where applicable), the Coordination Centre shall communicate with the affected TSOs to determine the cause of the missing data and find a solution. In case a solution cannot be found, the Coordination Centre shall set the accounting value to zero.

### Timeframe for changing the accounting data

All substituted values and/or all already matched values can be changed until the end of the deadline of the daily Accounting Process (see C-5-2). After the end of the monthly Settlement Process, the Accounting Data cannot be changed anymore.

### Timeframe for changing the verified ANES

The verified ANES can be changed by the concerned LFC Areas until the end of the deadline of the daily Accounting Process (see C-5-2). In such cases, the concerned LFC Areas shall firstly inform the respective Coordination Centre and then send their updated ANES to the Verification Platform. The respective Coordination Centre will then manually export the updated and verified ANES, recalculate the Unintentional Deviations of the concerned LFC Blocks and resend the updated daily settlement report(s). After the end of the monthly Accounting Process, the verified ANES cannot be changed anymore.

### Timeframe for changing other inputs

K-factors, frequency deviation and Day-Ahead Market Prices (DAMPs) can be changed until the end of the deadline of the daily Accounting Process. After the end of the monthly Settlement Process, these data cannot be changed anymore.

In case a TSO verifies a mismatch of its DAMP, the TSO immediately informs the Coordination Centre and submits a new DAMP document within the given deadline of 4 working days. After the validation of the monthly settlement report, the DAMP cannot be changed anymore.

## Entities

In accordance with Article 3 (2) of the approved proposal for common settlement rules applicable to all unintended exchanges of energy (“CCU”) according to Article 51.1, as well as the approved proposal for common settlement rules applicable to the intended exchanges of energy as a result of the frequency containment process and ramping periods (“CCFR”) according to Article 50.3 of COMMISSION REGULATION (EU) 2017/2195 of 23 November 2017 establishing a guideline on electricity balancing, the entities entrusted with the CCU and CCFR accounting function and the CCU and CCFR settlement function (Coordination Centres ) designated by all SA CE TSOs are:

* Amprion GmbH, for the northern block of SA CE and
* Swissgrid AG, for the southern block of SA CE.

For settlement tasks, both entities will share the tasks according to the Implementation Guide.

The entity entrusted with the invoicing task (Invoicing Entity) designated by all SA CE TSOs in accordance with Article 3 (2) of the approved proposal for common settlement rules applicable to all unintended exchanges of energy according to Article 51.1 of COMMISSION REGULATION (EU) 2017/2195 of 23 November 2017 establishing a guideline on electricity balancing, as well as the approved proposal for common settlement rules applicable to the intended exchanges of energy as a result of the frequency containment process and ramping periods (“CCFR”) according to Article 50.3 of COMMISSION REGULATION (EU) 2017/2195 of 23 November 2017 establishing a guideline on electricity balancing is

* JAO S.A.

The performance of services through the Invoicing Entity with corresponding service levels and service fees shall be regulated in a separate agreement with the appointed Invoicing Entity.

## Remuneration

The TSOs shall reimburse the following costs incurred by the Coordination Centres.

Amprion, as the Coordination Centre for the northern block of SA CE shall invoice APG, Elia, ČEPS, Energinet, TenneT Germany, TransnetBW, 50Hertz, MAVIR, Creos, TenneT NL, PSE, Transelectrica, SEPS and Ukrenergo, according to the distribution table below. Swissgrid, as the Coordination Centre for the southern block of SA CE shall invoice OST, NOSBiH, HOPS, RTE, IPTO, Terna, MEPSO, CGES, REN, EMS, ELES, REE, KOSTT and TEIAS, according to the distribution table below.

The total reimbursement is shared equally by Amprion and Swissgrid.

There are two types of costs: set-up costs which occur only once and operational costs which will be reimbursed on a yearly basis. The costs are shared according to the cost sharing principles of EBGL Article 23(3).

|  |  |  |
| --- | --- | --- |
| **One-Time Costs for implementation** | | |
| **Costs (EUR)** | **Participants** | **Costs (EUR) excl. VAT** |
| Albania | OST | 2.181,43 |
| Austria | APG - Austrian Power Grid AG | 4.172,07 |
| Belgium | Elia - Elia System Operator SA | 4.810,18 |
| Bosnia | Nezavisni Operator Sistema | 2.361,60 |
| Bulgaria | Elektroenergien Sistemen Operator | 3.019,07 |
| Croatia | HOPS - Croatian Transmission System Operator Ltd | 2.523,74 |
| Czech Republic | ČEPS - ČEPS, a.s. | 3.978,78 |
| Denmark | Energinet.dk IPC - Energinet.dk Independent Power Entreprise | 1.750,55 |
| France | RTE - Réseau de Transport d'electricité | 17.073,56 |
| Germany | Amprion - Amprion GmbH | 8.189,97 |
| Germany | TenneT GER – Tennet TSO GmbH | 6.905,26 |
| Germany | TransnetBW -TransnetBW GmbH | 3.694,82 |
| Germany | 50Hertz - 50Hertz Transmission GmbH | 4.996,03 |
| Greece | IPTO SA - Independent Power Transmission Operator S.A. | 3.686,92 |
| Hungary | MAVIR ZRt. - MAVIR Magyar Villamosenergia-ipari Átviteli Rendszerirányító Zártkörűen Működő Részvénytársaság | 3.332,57 |
| Italy | Terna - Terna, Rete Elettrica Nazionale SpA | 12.202,06 |
| Luxembourgh | Creos | 884,49 |
| Macedonia | MEPSO | 2.172,22 |
| Montenegro | CGES | 2.058,80 |
| Netherlands | TenneT TSO - TenneT TSO B.V. | 5.810,75 |
| Poland | PSE - PSE S.A. | 7.071,50 |
| Portugal | REN - Rede Eléctrica Nacional, S.A. | 3.612,72 |
| Romania | Transelectrica | 3.642,43 |
| Serbia | EMS AD | 2.951,53 |
| Slovak Republic | SEPS - Slovenská elektrizačná prenosová sústava, a.s. | 2.869,51 |
| Slovenia | ELES - ELES, d.o.o., sistemski operater prenosnega elektroenergetskega omrežja | 2.428,85 |
| Spain | REE - Red Eléctrica de EspaÑa S.A. | 10.255,92 |
| Switzerland | Swissgrid - Swissgrid AG | 3.907,97 |
| Ukraine | Ukrenergo | 7.094,63 |
| Kosovo[[2]](#footnote-3) | KOSTT | 2.117,60 |
| Turkey | TEIAS | 8.242,46 |
| *Total* |  | **150.000,00** |

|  |  |  |
| --- | --- | --- |
| **Yearly costs for operation** | | |
| **Participants** | **Participants** | **Costs (EUR) excl. VAT** |
| Albania | OST | 1.129,38 |
| Austria | APG - Austrian Power Grid AG | 2.138,29 |
| Belgium | Elia - Elia System Operator SA | 2.461,70 |
| Bosnia | Nezavisni Operator Sistema | 1.220,69 |
| Bulgaria | Elektroenergien Sistemen Operator | 1.553,92 |
| Croatia | HOPS - Croatian Transmission System Operator Ltd | 1.302,87 |
| Czech Republic | ČEPS - ČEPS, a.s. | 2.040,32 |
| Denmark | Energinet.dk IPC - Energinet.dk Independent Power Entreprise | - |
| France | RTE - Réseau de Transport d'electricité | 8.677,13 |
| Germany | Amprion - Amprion GmbH | 4.158,58 |
| Germany | TenneT GER – Tennet TSO GmbH | 4.053,82 |
| Germany | TransnetBW -TransnetBW GmbH | 1.874,44 |
| Germany | 50Hertz - 50Hertz Transmission GmbH | 2.535,71 |
| Greece | IPTO SA - Independent Power Transmission Operator S.A. | 1.892,40 |
| Hungary | MAVIR ZRt. - MAVIR Magyar Villamosenergia-ipari Átviteli Rendszerirányító Zártkörűen Működő Részvénytársaság | 1.712,81 |
| Italy | Terna - Terna, Rete Elettrica Nazionale SpA | 6.208,11 |
| Luxembourgh | Creos | - |
| Macedonia | MEPSO | 1.124,71 |
| Montenegro | CGES | 1.067,23 |
| Netherlands | TenneT TSO - TenneT TSO B.V. | 2.968,82 |
| Poland | PSE - PSE S.A. | 3.607,80 |
| Portugal | REN - Rede Eléctrica Nacional, S.A. | 1.854,79 |
| Romania | Transelectrica | 1.869,85 |
| Serbia | EMS AD | 1.519,68 |
| Slovak Republic | SEPS - Slovenská elektrizačná prenosová sústava, a.s. | 1.478,12 |
| Slovenia | ELES - ELES, d.o.o., sistemski operater prenosnega elektroenergetskega omrežja | 1.254,77 |
| Spain | REE - Red Eléctrica de EspaÑa S.A. | 5.221,76 |
| Switzerland | Swissgrid - Swissgrid AG | 2.004,44 |
| Ukraine | Ukrenergo | 3.619,53 |
| Kosovo[[3]](#footnote-4) | KOSTT | 1.097,03 |
| Turkey | TEIAS | 4.201,28 |
| *Total* |  | **75.850,00** |

The Coordination Centres will send invoices to the TSOs after the services for each year have been performed. The services provided by the Coordination Centres are considered to start 01/06/2021, corresponding to the go-live of the financial settlement. As such:

- at the latest on 31/01/2022 the Coordination Centres will send the invoices for the one-time costs for implementation, and 7/12 share of the yearly operational costs, corresponding to the services until 31/12/2021.

- at the latest on 31/01 of each year starting 2023, the Coordination Centres will send the invoices for the yearly operational costs, corresponding to the services from 01/12 to the 31/12 of the previous year (starting 2022).

The Coordination Centres shall each sent separate invoices to the respective TSOs. Each invoice issued shall be sent by email to the TSO, but at the request of a TSO a paper version shall also be provided. Invoice shall be issued not later than 14th calendar day of the next month after ending the invoiced period. Each invoice shall include at least the following items:

1. Full name, address and e-mail address of the respective Coordination Centre and the invoiced TSO;
2. VAT number of the respective Coordination Centre and the invoiced TSO;
3. Invoiced amount, valued in euro;
4. A detailed specification of the costs;
5. Bank account and bank address (including IBAN and BIC) on which the relevant payment shall be made;
6. Invoice number;
7. Invoice issue date;
8. Invoicing period from date \_\_\_\_\_\_\_to date\_\_\_\_\_\_\_;
9. Designation of the service on the invoice;
10. Tax rate and tax amount separately, if any;
11. Specific constraint for invoicing, required by article 226 of Directive 2006/112/CE, if any, e.g. indication of the reference to the applicable provision of the Directive where the supply of services is subject to the VAT reverse charge procedure;
12. Reference if required by the invoiced TSO; and
13. Payment term.

Reference or purchase order numbers necessary for identifying payments internally, contact persons and contact details for the sake of sending invoice shall be requested by the Coordination Centre from each TSO.

Invoices shall be paid within thirty (30) calendar days from the end of the month of the receipt of the respective invoice. All payment(s) shall be made by wire transfer to the bank account indicated in the invoice(s).

If a TSO disputes any invoice, it shall; (i) pay all charges not disputed, and (ii) notify the Coordination Centre, as indicated in the invoice, of the dispute in writing, providing the invoice number and an explanation of the issue in dispute.

In the event of failure to pay the invoiced amount within the abovementioned payment period, the Coordination Centre sends a reminder and has the right to automatically charge the defaulting TSO interest for late payment. For the following months, the interest for late payment, on any amount effectively due, will be the positive one month EURIBOR rate or zero, if the one month EURIBOR rate is negative.

All payments shall be made in euro and, unless otherwise agreed in writing, shall be made without set-off or counterclaim.

When any tax or duty is due by TSOs in their countries at receipt of the invoices issued by the Coordination Centre for its services, it should be paid on top of the amounts due to the latter. It is understood that all amounts billed by the Coordination Centre are exclusive of applicable taxes and duties. The parties confirm that two previous sentences do not apply to a potential withholding tax applicable in Poland. The specific regulations with regard to a withholding tax due in Poland are determined in the following provisions of section C-9 of this Annex 3 as well as in section C-13 of this Annex 3.

The net remuneration due to the Coordination Centre (i.e. remuneration exclusive of VAT) includes the amount of withholding tax due in Poland on taxable income received by foreign entities. In the event that, in accordance with applicable tax regulations, PSE is obliged to deduct from the Coordination Centre’s payment the amount of withholding tax due in Poland, PSE shall make this deduction taking into account the applicable rate and the principles set out in the relevant Polish tax law and double taxation agreements.

In order for PSE to apply the exemption or the appropriate reduced tax rate of withholding tax in Poland on income obtained by foreign entities, the Coordination Centre shall deliver, in accordance with the following provision, a valid and original tax residence certificate issued by tax authorities competent for the Coordination Centre’s registered office and documents mentioned in the section C-13 of this Annex 3.

Upon request of a TSO, Coordination Centres shall deliver a valid and original tax residence certificate issued by tax authorities competent for the Coordination Centre’s registered headquarters to requesting TSO, after concluding this Annex, but not later than by the 10th calendar day prior to the date of the first payment and at least 30 calendar days prior to the expiry of each running calendar year, while the Annex being in force. In the event of a change of tax residence, the Coordination Centre is required to provide requesting TSO with a valid and original tax residence certificate of the new state of tax residence issued by the relevant tax authorities, however not later than by the 10th calendar day prior to the expiry of the payment period of the part of the payment due after the change of tax residence. The costs associated with obtaining the original certificate of tax residence (in particular, any administrative fees) shall be borne by the Coordination Centre.

In the event of failure to comply with the obligation to deliver a correct tax residency certificate or with the obligations set out in section C-13 of this Annex 3 each Coordination Centre confirms that it is aware of the obligation of PSE to reduce the payment due to the Coordination Centre by the amount corresponding to the value of the withholding tax due in Poland (if PSE is obliged to collect such tax pursuant to Polish tax provisions, tax rulings or decisions received by PSE individually or in accordance with generally available practice and/or standpoint of the Polish tax authorities) and the Coordination Centre agrees for such deduction. The Coordination Centre agrees also for a deduction of the tax amount from the remuneration due to the Coordination Centre if PSE is obliged to withhold such tax (pursuant to Polish tax provisions, tax rulings or decisions received by PSE individually or in accordance with generally available practice and/or standpoint of the Polish tax authorities) despite the documentation being delivered in accordance with this Annex 3, in particular with its section C-13.

## Transitory provision

**Transition from Compensation Program to Financial Settlement**

**RG CE Plenary must decide on the date for the go-live of the financial settlement, meaning the first day where the procedures as described in this Policy will be used. The go-live date must correspond to a day at the end of the recording periods of the compensation calendar.** Until go-live of the Financial Settlement, the compensation of unintentional exchange shall be performed according to the current procedures as agreed in Annex 3 of the SAFA dated 14.04.2019. **At the go-live of the financial settlement, a compensation program based on the final accounts of the Unintentional Deviations will be calculated. This will result in a separate final compensation program for summer and winter period, which shall be compensated within the corresponding compensation periods as reflected in the compensation calendar. These compensation programs will be added to the energy exchange schedule for the relevant periods.**

**The unintentional exchange on the final accounts of Unintentional Deviations will not be fully compensated through the realization of the final compensation programs in the transition period. In order to settle the remaining, not compensated energy, the realized control programs used as an input for financial settlement process shall contain the compensation programs in accuracy of 1 kWh.**

**After termination of both final compensation programs, for the summer and the winter period, and the settlement of energy remaining on the final accounts of Unintentional Deviations in line with the Financial Settlement, the transition from the compensation program to the financial settlement is considered as completed.**

**Unintended exchanges, which occur during the transition period, shall be settled financially according to the method described in this document.**

## ****Termination by Coordination Centres****

Each entity appointed to perform the role of Coordination Centre may cease to perform the functions set out in this Annex 3 subject to a period of notice of twelve (12) months for any reasons of its own.

Upon notice of termination the entity commits itself to assist the newly appointed entity in taking over all needed information for the performance of the role of Coordination Centre.

The entity shall provide technical assistance to the newly appointed entity free of charge.

## Supplements

### Equation terms

Sum of cross-border Tie-Line flows between two TSOs/LFC Areas/LFC Blocks/Coordination Centres

Intended cross-border exchanges through VTL

Cross-border energy exchange through ANES

FCP Energy

RP Energy

Unintended exchange

Power control error. Defined in SOGL.

K-factor of the LFC area

### Timetables for daily accounting and settlement process


|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Note: the following timing (if not expressed different) is valid for the next workday |  |  |  |  |
|  |  |  |  |  |
| **Timing of daily data delivery exchange** |  |  |  |  |
|  | data only for one day | | Data for more than one Day | |
|  |  |  | (e.g. after weekend, holidays etc.) | |
| Action | Gate closure | Cut Off time (Agreement deatline) | Gate closure | Cut Off time (Agreement deatline) |
| Meter data delivery (SOMA) to neighbouring TSO | 10:00 AM | 1:00 PM | 10:00 AM | 1:00 PM |
| Delivery of ANES from VP to Coordination Centre |  | 12:00 PM |  |  |
| Accounting data delivery (SOAM) to neighbouring TSO | 1:30 PM | 2:00 PM | 1:30 PM | 4:00 PM |
| Delivery of agreed Accounting Data (SOVA) by TSO to LFC Area. Note: if disagreement: available data have to be sent |  | 2:00 PM |  | 4:00 PM |
| Delivery of agreed Accounting Data (SOVA) to LFC Block |  | 2:00 PM |  | 4:00 PM |
| Delivery of agreed Accounting Data (SOVA) to Coordination Centre |  | 2:00 PM |  | 4:00 PM |
| Accounting Data delivery to neighbouring Coordination Centre |  | 3:15 PM |  | 5:15 PM |
| Delivery of K-factors to Coordination Centre |  | 2:00 PM |  | 2:00 PM |
| Delivery of DAMP to Coordination Centre |  | 2:00 PM |  | 2:00 PM |

Table 2: Timetable for daily accounting and settlement process



Figure 4. Timing of daily Accounting Data exchange

### Registration form for Accounting Process including Tie-Lines



### List of LFC Blocks performing Accounting and Settlement Process on LFC Block level

The Accounting and Settlement Process is performed on LFC Block level for the LFC Block UAMD (Ukrenergo and Moldelectrica).

## The specific regulations with regard to a withholding tax due in Poland

1. Immediately after entering in to force of this Annex , but not later than by the 10th calendar day prior to the date of the first remuneration payment and, after that, at least 30 calendar days prior to the end of each year the service have been performed by Coordination Centre, the Coordination Centre is obliged to provide PSE with a written statement that it is subject to a taxation on its total income and that it is the beneficial owner of payments received from PSE together with information that it conducts actual business activity in the country of its tax residence. The template of such a statement constitutes Appendix 1 to this Annex 3.

2. Immediately after entering in to force of this Annex 3, but not later than by the 10th calendar day prior to the date of the first remuneration payment and, after that, at least 30 calendar days prior to the end of each year the service have been performed by Coordination Centre, the Service Provider shall provide PSE with a completed verification questionnaire (via e-mail address indicated in Annex 3 with contact details), the template of which constitutes Appendix 2 to this Annex 3.

3. Based on the information and data provided by CCs, PSE may require the CC to produce additional documents or deliver information necessary not to withhold the tax, and the CC undertakes to provide such documents or information upon request, not later than by the 5th calendar day prior to the date of the upcoming payment, and on condition that (i) CC would be factually able to obtain/prepare such additional data and (ii) this additional data will not constitute the confidential information or trade secret of CC.

1. The scheduled energy exchanges will additionally include the compensation program for the transition phase, see C-10. [↑](#footnote-ref-2)
2. This designation is without prejudice to positions on status, and is in line with UNSCR 1244 and the ICJ Opinion on the Kosovo declaration of independence [↑](#footnote-ref-3)
3. This designation is without prejudice to positions on status, and is in line with UNSCR 1244 and the ICJ Opinion on the Kosovo declaration of independence [↑](#footnote-ref-4)