## Background and overview
Background and overview
By 28 March 2024, a total of 8 stakeholders (of which 3 are confidential) and ACER responded to this Call-for-Evidence on the ERAA 2024 Preliminary Input Data, providing valuable feedback towards (future) process and transparency improvements. The ERAA 2024 focuses on target years 2026, 2028, 2030 and 2035.
To enhance stakeholder exchange and to regularly provide updates on the overall process development, ENTSO-E has organised a stakeholder webinar on input data for the ERAA 2024 and will organize a workshop on the ERAA methodology. ENTSO-E is committed to provide the expert community with the opportunity to get insights in ongoing work as well as to provide input on possible enhancements which can be taken up by the modelling teams.
ENTSO-E and the TSO experts thank you for the consultation input. We are on our way to incorporate internal and external feedback and suggestions for improvements to our process. We are confident to deliver a next successful advancement towards final implementation with the ERAA 2024 report and are welcoming further exchanges and expert discussions.

## Stakeholders' feedback
What is your organisation? | Please specify which country's data your feedback concerns. | Please provide your feedback on renewable generation capacities (i.e., solar power, wind power etc.). | Please provide your feedback on thermal generation capacities (i.e., gas, coal, nuclear etc.). | Please provide your feedback on DSR and battery capacities. | With respect to fuel and CO2 prices, what is your view on ENTSO-E's proposal for ERAA 2024? Please share with us your proposal followed by any source you might have. | Please provide your feedback on the Transfer Capacities. | Please provide your feedback on the Demand Data. | Please provide your feedback on the Climate Data, i.e. the Pan-European Climate Database. | Please provide your feedback on the Critical Network Elements and Contingencies (CNECs). | Please provide your feedback on the System balancing resource requirements (FRR and FCR). | Please share with us any other comments related to this preliminary input data package for ERAA 2024.
Anonymous | GERMANY | Prospective domestic PV supply capacity appears to be roughly half the PV capacity assumed in ERAA 2023: e.g. ERAA2024 anticipates 70 GW Solar capacity for 2028 whereas ERAA2023 anticipates 159 GW for the same period (as a benchmark, the AT values match rather closely with 10.6 for ERAA2024 vs 9.2 for ERAA2023) |  |  |  | From 2025 onwards long term capacities will be allocated using a flow-based approach. From my point of view, this could in theory also impact day-ahead flow based capacity allocation (and therefore modeled Transfer Capacities), as the feasible domain is forced to cover long-term capacities. Did you capture include effects from long-term capacity allocation in your calculations or do you assess that this change in methodology will not impact Transfer Capacities? |  |  |  |  | One particular question arises when looking at the huge anticipated renewable capacity increase compared to load and storage capacities: do you envisage that renewable generation will continue to produce at negative prices in your models or do you expect that market design will incentivize shutdowns in this case? I assume this will hugely impact investment decisions and thus the outcome of the study (and I could not find out your approach concerning this topic in ERAA2023)
Iberdrola S.A. | SPAIN | The Spanish 2023 National Resource Adequacy Assessment (NRAA) developed by the Spanish TSO indicated that there are currently no hydro pumping plants nor thermal solar power plants (CSP) being built in Spain (see page 44 of NRAA: “actualmente no se están construyendo unidades de bombeo hidroeléctrico ni termosolares”). Indeed, the 2022 renewable capacity auction had 220 MW of capacity reserved for thermal solar power plants, but that capacity was not awarded because there were no offers below the reserve price, even though the reserve price had been set at 110 €/MWh. The Spanish 2023 NRAA also indicated that only 50 MW of CSP have asked for access to the grid (see page 44 of NRAA: “sólo 50 MW de nueva capacidad termosolar han solicitado acceso a la red”). In contrast, the National Estimate foresees 2500 MW of CSP capacity being built in 2028-2030. Given that only 50 MW of CSP capacity have asked for access to the grid, and that no plants are currently being built, it is not realistic to assume that 2500 MW of CSP capacity will be built in 2028-2030. | Nuclear The generation capacity for nuclear power plants is incorrect. Annex 2 of ERAA 2023 indicated that (page 39): A unit subject to EVA is considered fully commissioned or not at all during a given year: it cannot be commissioned or decommissioned at another moment than in the beginning of the year. The cut-off date is chosen as the 1 July of any given year. A unit whose decommissioning date is before this date is not considered at all the year of its decommissioning, otherwise it is considered to be commissioned the entire year of its decommissioning and effectively decommissioned the next year. The following table shows the expected decommissioning dates for nuclear power plants in Spain (see page 14 of the 7th General Plan for radioactive Residues -7º Plan General de Residuos Radiactivos- of 27 December 2023). Plant Decommissioning date Almaraz I 11/2027 Almaraz II 10/2028 Ascó I 10/2030 Cofrentes 11/2030 Ascó II 09/2032 Vandellós II 02/2035 Trillo 05/2035 As shown in the table above, the last two nuclear power plants are due to be decommissioned in February and May 2025. Following the approach described in Annex 2 of ERAA 2023, because the decommissioning date is before 1 July, their capacity should be considered to be decommissioned the entire year. Hence, nuclear capacity in Spain in 2035 should be set at 0 MW, instead of 2049 MW. We also note that, according to Annex 2 of ERAA 2023 (page 39): The ERAA 2023 collected data for 4 non-consecutive TYs of 2025, 2028, 2030 and 2033. However, the EVA is an integrated model over multiple years in horizon 2025 – 2033. To overcome this issue, it is assumed that non-TYs date are duplicates of the latest available TYs. For example, non-TYs 2026 and 2027 are assumed to have the same load, generation capacity, network constraints, etc. as the TY 2025. As indicated in the March 14 webinar, in ERAA 2024, non-consecutive target years will again be used. These will be 2026, 2028, 2030 and 2035. We expect that ENTSO-E will continue to use the same approach as in ERAA 2023 and that non-TYs 2031, 2032, 2033 and 2034 will be assumed to have the same load, generation capacity, network constraints, etc. as the TY 2030. However, that means that the four non-TYs 2031, 2032, 2033 and 2034 will ignore the fact that the Ascó I and Cofrentes nuclear power plants are scheduled to be decommissioned in 2030, and ERAA will therefore overstate the true level of nuclear generation capacity. Therefore, while it may be reasonable to consider July 1 as the cut-off point for deciding whether to include or include a certain power plant which is expected to be commissioned or decommissioned in any given year, if the same year 2030 is going to be used to represent years 2030 to 2034, it would appear to make more sense to consider the generation capacity in the mid-point-point of that entire period (i.e. to consider the generation capacity expected in 2022, or the average of the generation capacities in 2030 and 2035). Gas According to the 2023 NRAA (see bottom of page 54), CCGTs were expected not to be profitable in 2025 nor 2027, and to barely break even in 2030. The National Estimate assumes that all of the CCGT capacity will continue to be available even in 2035. However, it does not make sense to assume that none of the existing capacity will be decommissioned if they do not recover their operating costs. Further, some of the CCGTs were built as early as 2001 and would be up to 34 years old in 2035. At the very least, those plants will require investments to carry out major maintenance and life-extension work. However, if there is no capacity mechanism in place, they will not be able to recover those costs. It does not make sense to assume that all the capacity will continue to be operational up to 2035 if there is not a capacity payment in place. | DSR Based on the explanations provided during the March 14 webinar, we understand that the DSR which is operated by the TSO is not considered when simulating the operation of the electricity market. However, we note that in the 2023 ERAA, explicit DSR in Spain was assigned a 700 €/MWh activation price and was taken into account when simulating the operation of the electricity market. That is not a correct representation of how explicit DSR (known as “servicio de respuesta activa de la demanda”) is operated in Spain because, in Spain, explicit DSR is operated by the TSO, and it does not set the market price when it is activated. We do not know where the reference to a 700 €/MWh activation price came from (Spanish regulations do not make any reference to any such price), but the market price is certainly not set at 700 €/MWh when explicit DSR is activated by the TSO. Therefore, we expect that ENTSO-E will not consider the explicit DSR capacity when simulating the operation of the electricity market. We also note that in ERAA 2023, the DSR expected by the TSO in the end-year was assumed to be available as potential explicit DSR in all the target years. If the same is done in ERAA 2024, ENTSO-E will assume that 609 MW of explicit DSR will be available as a policy unit in 2026, and that an additional 1,991 MW (the difference between the 609 MW of explicit DSR in the National Estimate for 2026 and the 2,600 MW expected for 2035) will be available for economic commissioning. The ERAA 2023 documentation did not indicate what investment and fixed O&M costs were assumed to be incurred by consumers to be able to provide explicit DSR. In ERAA 2022, explicit DSR was assigned a total annual fixed cost of about 20,000 €/MW/year. However, in Spain, explicit DSR is procured through competitive auctions; the auction carried out by the TSO to procure explicit DSR for 2024 yielded a price of over 234 thousand euros per MW of explicit DSR (the price was 40,82 €/MW paid during 5745 hours; 953 MW were offered, and 609 MW were assigned at that price; see https://www.esios.ree.es/es/gestion-de-la-demanda?date=04-09-2023#). Therefore, when considering the possibility of explicit DSR economic commissioning, the total annual fixed cost of explicit DSR that should be considered for Spain in ERAA 2024 should be in excess of 234 thousand €/MW/year, especially if more than 609 MW is supposed to be procured. Batteries Regarding batteries, the Spanish 2023 NRAA indicated that, if a capacity mechanism is not implemented, the most likely outcome is that no large-scale storage will be built in the coming years (page 44 of NRAA: “en ausencia de un mecanismo de capacidad, lo más probable es que no se ponga en servicio capacidad de almacenamiento a gran escala en los próximos años”). In contrast, the National Estimate expects 2030 MW of new closed-loop pumping up to 2030, 1540 MW of open-loop pumping and 6628 MW of batteries. However, given that the objective of ERAA is to estimate the level of security of supply if there is not a capacity mechanism implemented in Spain, the amount of capacity should be the capacity that can reasonably be expected if a capacity mechanism is not implemented. According to the Spanish 2023 NRAA, if a capacity mechanism is not implemented, the most likely outcome is that no large-scale storage will be built in the coming years, at least not before 2030 (given how long it takes to build -or even to increase the capacity- of pumping installations). | No comments. | No comments. | While the generation capacities for Spain are generally consistent with those indicated in the draft 2023 NECP, the demand forecast differs substantially. The draft 2023 NECP forecasts a demand of 316.5 TWh in 2030 (see Spanish draft 2023 NECP, page 554), whereas the National Estimate appears to be a demand of 270.3 TWh. If the generation capacities for Spain are generally consistent with those indicated in the draft 2023 NECP, it stands to reason that the demand forecast cannot differ substantially. It makes no sense to expect a similar level of generation capacity for a demand of 316.5 TWh and for a demand of 270.3 TWh. Either the demand forecast in the National Estimate should be revised upwards to be consistent with that in the draft NECP, or the installed capacity forecast in the National Estimate should be revised downwards to be consistent with the lower expected demand. | No comments. | No comments. | No comments. | The ERAA appears to be largely based on the NECPs which, in some instances, are “aspirational”, rather than an unbiased forecast of the capacity that will be in the system. Indeed, the Spanish NRAA highlighted that some of the capacity in the National Estimates used in ERAA 2023 are not expected to be built, and that CCGTs incur losses. Starting from too high a level of capacity in the National Estimates distorts the results because:  If the technology is not a decommissioning candidate, Plexos will keep it in the system even if the plant does not recover its costs and even if closing it would reduce total system costs.  If the technology is a decommissioning candidate, Plexos will keep that capacity operating if it covers its fixed O&M costs whereas, if the plant was not deemed to be in the system to start with, then Plexos would only add that capacity if it covered the sum of its fixed costs plus some share of its investment costs. Thus, ENTSO-E should only consider, in the National Estimates, capacity that can reasonably be expected to be operational if there are no capacity mechanisms in place. It makes no sense to analyse whether security of supply targets would be met in the absence of capacity mechanisms starting from a generation mix which includes non-viable generation plant that would only be in the system if there are capacity mechanisms in place to provide them with additional revenues. ENTSO-E should therefore either exclude from the National Estimate that generation capacity which is not viable without a capacity mechanism (that is, if new capacity does not recover its investment and fixed O&M costs) or it should ask TSOs to indicate which of the capacity in the National Estimate is, and is not, viable without a capacity mechanism. The analysis “without CM” should then start from the National Estimate but considering only the capacity in the National Estimate which is viable without a capacity mechanism.
Bundesnetzagentur | GERMANY | WindOffshore: For 2026 - 2030 the capacities seems to low (ca. 2 - 7 GW). WindOnshore: The capacities are much lower compared to the targets, up to 24 GW. Solar: Until 2029 the capacities are to low (up to 12 GW). To get a better look on the data, all capacities should be described in the dashboard in detail and no parts only in the time series data. It seems that biomass is part of "Other RES". This should be described and explaind somewhere. And the actual capacities of biomass should be described. | The comparison for 2025 delivers the folowing: The assumption für gas-capacities seems to low (5 GW). The assumption for Coal seems to high (3,5 GW). Other technologies ("Sonstige") is not mentioned at all (4,5 GW). Biomass ist not mentioned at all (see comment on RES). Emergengy power generators are not mentioned at all. | No (detail-) information on electric vehicle, DSR, Heat pumps, etc. is available. Please deliver all necessary information for all relevant technologies. | Seems fine. | The NTC Data show many inconsistencies. There is no trading capacity between Germany and Switzerland in 2025, 2031, 2032, 2033 and 2034 (NTC_MAX = 0) There is no trading capacity between Germany and the Czech Republic in 2025 (NTC_MAX = 0). Furthermore, there are also isolated cases of missing trading capacities in other years (but only on the Czech market side) Furthermore, there are also isolated cases of missing trading capacities in other years (but only on the German market side) As a general rule, every time series for trading capacities between Germany and a neighboring zone contains at least one zero value somewhere. | The Demand data is partly provided in the dashboard and partly in the time series. We have not yet been able to draw any conclusions from the load time series. Please put the information about (an estimate of) the load in the time series also into the dashborad. | We were unable to examine the data in the short time available. | We were unable to examine the data in the short time available. | We were unable to examine the data in the short time available. | The dashboard is a major step forward regarding tranparency. However it needs all relevant data. Otherwise it might create misunderstandings e.g. regarding target values.
EDF | General feedback/all countries | Considering the data sets for hydropower, EDF has the following remarks: - The methodology for hydro assumptions could be more detailed. • We welcome the publication of hydro inflows and constraints in 2024 input data. Is it still based on the 2019 document “Hydropower modelling – New database complementing PECD” quoted in a footnote on p11 in Annex 2: Methodology” of ERAA2023 documentation? • If yes, inflows are calculated by SMHI (E-Hype model) using data from the European project Clim4Energy. o Which climatic model(s) from Clim4Energy simulations are being used in ERAA? o The type of radiative forcing used is also unknown: Clim4Energy offers simulations for two levels, RCP4.5 and RCP8.5 (the latest being the most pessimistic) o Clim4Energy simulations are based on CMIP5/EuroCordex, will there be new inflows data calculated with CMIP6? • What is the data source for storage capacity in each country? For example the data provided for the energy stored are surprising for France (10 TWh found in ERAA2024_C4E_Dashboard_V2.xlsx/”HydroStorage”), quite different from the one provided by RTE (3.5 TWh, see https://www.services-rte.com/fr/visualisez-les-donnees-publiees-par-rte/stock-hydraulique.html). • What are the data sources / how are the different assets categorized? (e.g., all reservoirs being categorized as pumped storage in Norway whereas there are no such storages in the country) • Does the generation / pumping capacity account for unavailability (maintenance, outages)? Are only capacities available to the market considered or also capacities used as reserves? - Regarding Solar PV capacities in Germany, EEG 2023 plans 215GW of installed capacities in 2030 when ERAA 2024 estimates only 97GW. More than 84GW are currently operational and current trends suggest that, by the end of this year, German Solar PV capacities could reach 95GW. Those data seem to largely underestimate projections of installed capacities for that sector in Germany. | Considering the data sets for thermal generation, EDF would like more details about the sources used as it notices many gaps between RTE’s and its own internal models, on the one hand, and ERAA2024 data sets on the other. This is notably the case for France for gas capacities (RTE : 11.3 GW vs 7.19 GW for ERAA 2024 data), and also for neighboring countries of France for gas as well (Germany and Belgium with highly underestimated figures and overestimated figures for Spain and Great Britain). | Considering the data sets in the PEMMDB Dashboard, EDF has the following remarks: - the “BatteriesStorage” tab seems to refer only to GW numbers; would it also be possible to provide GWh numbers so that stakeholders are able to provide more relevant comments? - “NM Batteries” seems to refer “Non-Market Batteries”: how are they defined? Do they refer to the “fully integrated network components”? Do these batteries serve primarily non-market purposes (such as resilience / increasing self-consumption) and also pursue market revenues as an accessory, or do these batteries refrain from any market activity whatsoever? - “NM Batteries” for example in Germany have a Capacity-Power-Ratio that is as high as 3h in 2026 (68789 MWh/22195 MW = 3h), even though this goes down to 1.4 h by 2035. How do you justify that non-market batteries in Germany have such a high duration in 2026? - The same is even more striking for Belgium, where “NM Batteries” seem to have a duration of 15 hours (2026: 10100 MWh/652 MW= 15.5h ; 2035 : 17300 MWh / 1116 MW = 15.5h). Not only are those durations unrealistic from a current technology perspective, but they also raise the question as to why they are relatively stable in Belgium, even though the durations for Germany are projected to decrease over time. Are different drivers projected for NM Batteries in Belgium than in Germany? If so, which are those drivers? - Likewise, the durations seem even more erroneous for Luxembourg and the Netherlands, where durations reaching not just several hours but several days of storage output seem to be expected from NM Batteries. This seems to be a mistake; otherwise, it would at least deserve an explanation (in particular with comparison to other countries). - Could it be clarified whether or not bidirectional charging for electric vehicles (“V2G") was taken into account for these projected numbers on Battery Storage? - Why does Belgium decrease its overall battery storage from 10.2 GW in 2035 to 7.2 GW in 2036? - Storage numbers for Italy seem rather high. On the one hand, it is true that Italy shows significant ambition for storage. On the other hand, it could be worthwhile to double-check to what extend these ambitions can realistically accelerate actual deployment rates. For instance: the projections for 2026 amount to 12.3 GW in total for Italy (compared to 1 GW in 2022; also higher than the number of 9GW by 2030 which certain industry sources projected for Italy in 2023); also 98 GW of battery storage by 2036 seems to be even more ambitious than what current discussions in Italy suggest, which could require an additional explanation. | Regarding commodities and CO2 price, it would be useful to be able to have a range to consider the uncertainty which characterizes them and to assess its impact, on decarbonization trajectory of the fleet in particular. | EDF still regrets that the approach to cross-border capacity bases on a vision taking into account the 70% rule, which is a market vision of capacities as it requires redispatching and/or countertrading measures and is not a relevant approach and could be misleading to assess the physical capacity of the system, which is key when assessing security of supply. The NTC trajectories with the highest growth rates (Belgium, France and Germany) provided seem to be relevant with EDF estimates. | Regarding demand data, EDF considers that it would be valuable to have a break-out of demand per country (thermosensitive demand, non thermosensitive demand, flexible demand, demand per sector) and also more methodological elements about the figures taken into account. |  | EDF is surprised that that for CNECs, there is only one trajectory for future commissioning as many uncertainties remain at a 10-year time horizon, notably for not highly interconnected areas. |  | EDF welcomes the opportunity to provide comments on these data sets, though it is a complex and time-consuming exercise. EDF would recommend providing in the future the main variations from one year to another so that stakeholders can focus on the items that have evolved. EDF wonders in which concrete way the amendment of the ERAA methodology by ACER required pursuant to Article 69(4) of the upcoming amended Electricity Regulation would allow streamlining and simplifying the process of applying a capacity mechanism. EDF suggests that the ERAA results highlight the most critical infrastructure, those for which delays or non realisation would significantly increase the LOLE/EENS and thus endanger the fulfillment of the reliability criteria.
Commission for Regulation of Utilities (CRU) | Ireland | It is not clear that the generation values are compatible with 2023 Climate Action Plan targets, such as 80% RES-E. ENTSO-E projections are consistent wiht the 2023 Generation Capacity Statement renewables projections, which had a data freeze date before Version 1.1 of 'Shaping our Energy Futures' was published, to try and take account of updated climate targets. Version 1.1 of 'Shaping our Energy Futures' says that "The Climate Action Plan 2023 (CAP23) sets out the renewable generation required to achieved the 80% renewable electricity and carbon emissions targets. CAP23 requires Ireland to connect 9GW of onshore wind generation, 5GW of offshore generation and 8GW of solar PV generation". This means 9GW of onshore and 8GW of solar in addition to what we have now by 2030, and the values in the ENTSO-E data look short of this. We think this should be reviewed. | Firstly, clarification is sought on whether the capacity values are rated MW or derated MW for all technologies. Secondly, clarity is sought on whether the MW values are meant to include out-of-market generation, of which there is up to approximlate ately 1,400MW rated of thermal generation (mixture of coal, oil, gas-fired) in the mid to late 2020s- either way, we cannot reconcile the MW values in the dataset for coal, oil and gas . This out-of-market generation will not operate in the DAM or Intra-Day markets, but will be deployed to prevent lost load. Thirdly, the ENTSO-E data has 5935MW of SEM gas-fired capacity in 2025, rising to 6806 by 2028, and stay at that level until 2035. At the moment, there is 4930MW of existing gas-fired capacity in the 2023 Generation Capacity Statement, so there is an assumption of about 1000MW being added by 2025 and a further 900MW by 2028, but it is not clear how this is derived. It looks like gas capacity projections are flat from 2028 because auctions for that period haven't been held yet, so there is no contracted capacity. That may be a reasonable basis for projecting the capacity, but this is inconsistent from the way that assumptions are generated for renewables, like wind/solar, whereby the method is to assume everything need to meet climate goals is contracted, rather than only to count projects that have already been contracted. It is also not clear also if "gas" includes future hydrogen generation or just natural gas - clarification on this going forward would be appreciated. For oil, the oil MW numbers may be ok, but it depends what is being counted. We estimate 860MW of capacity in the SEM at the moment, compared to ENTSO-E estimate of 940MW in 2025, falling to 830MW in 2026. We request clarity on whether Temporary Emergency Generation (TEG, a source of out-of-market generation) is included in the oil number. There is 577MW from 2030-2035, which probably isn't compatible with climate targets if "oil" means distillate only, but is Hydrogenated Vegetable Oil (HVO) counted as "oil"? How is HVO categorised? We consider it important that the modelling and the accompanying reporting gives the right message about carbon and the distinction between technologies, and to capture the right impact of run-hours limits on adequacy. We understand from previous ENTSOE work that the peat stations have been listed as lignite, rather than being treated as a separate category. Peat probably has a lower energy density and higher carbon emissions/unit generated than lignite has. It also appears that the data is representing a peat stations that is converting to biomass as lignitie. While representing biomass as "lignite" may not make a difference from an adequacy modelling perspective (with the possible exception of the application of emissions run-hours limits), it sends the wrong message about carbon emissions. The model has nearly 200MW of "lignite" running through to 2030, and 78MW running to the end of the period in 2035. In reality, all peat units have closed or have been converted to biomass sine the end of 2023. Only ED1 will convert to biomass, and this is less than 200MW. This should be clarified in the reporting of the modelling we think. | On demand side units, there is a lot less capacity in the ENTSO-E data than in the Generation Capacity Statement. It's not clear from the dataset how ENTSO-E models DSU running in their adequacy model and this could be critical. Clarity on the modelling of run-hour limits is requested. On batteries, the ENTSO-E values is significantly less than the rated MW in the 2023 Generation Capacity Statement - and even those values are probably too low to be compatible with 2030 climate targets. The ENTSO-E dataset has 368MW of batteries in 2025, whereas the 2023 Generation Capacity Statement has 1300MW of batteries in the SEM by 2025. The ENTSO-E dataset raises their figure to 550MW by 2027 and remains flat thereafter, whereas the 2023 Generation Capacity Statement rises to 1500MW in 2027 and stays flat thereafter. We thnk that this should be adjusted to reflect the latest EirGrid forecasts at least. | No specific comments. | ENTSO-E treat Ireland and NI as separate zones before the NS update (assumed to come in in 2027), which appears reasonable. However, the 300MW bi-directional transfer capacity up to the end of 2026 appears too large, particularly north to south. The 2023 Generation Capacity Statement explicitly says that there is a capacity reliance of 100MW north to south, and 200MW south to north. Greenlink and Celtic IC assumptions appear reasonable. | The file only has TWh demand, not MW Peak. TWh demand values are close to 2023 Generation Capacity Statement median, but are not exactly the same. 1.2GB of demand files are provided but it isn't very clear how it is all used. We note that tte average of the scenarios for IE peak demand in 2030 is 7268MW and the highest peak is 7722MW. This compares to the 2023 Generation Capacity Statement median forecast for TER Peak in Ireland of 6850MW and a high peak of 7580MW. | No specific comments. | We are unaware whether any CNECs have been identified for the Irish grid. this may be a function of our current remoteness from the IEM, however we will be reconnected with the rest of the continental system some time in 2027. We think ENTSOE should seek confirmation from EirGrid that there will be no limiting CNECs on the system for the modelled years after our reintegration that might limit flows on the Celtic IC. | No specific comments.