## Export All
Question | Answer
How do you take storage into consideration in the CM auction? Same goes for renewables? How do you select the technology for new entry, if new capacity is needed to fulfill the reliability standard? | If the results of the EVA step under the “without Capacity Mechanisms (CM)” scenario show that more capacity is needed to fulfil the Reliability Standard (RS) in a member state with an existing or approved CM for a specific target year, we start our iterative approach by re-introducing domestic retired capacity (for that specific target year) following the EVA step. We give priority to the units with lowest FOM (e.g. OCGT before CCGT). In case there is no or not sufficient capacity to re-introduce in the market, we proceed by adding new market capacity, giving priority to the reference technology with the lowest CONE from the CONE study of the member state. Therefore, batteries will be the new entry technology if it has the lowest CONE. In case a compliant CONE study is not yet available, the available technology with lowest CAPEX + FOM is chosen. RES are not included as (dis-)investment candidates in the EVA, as they are treated as policy units following the national estimates in member states. Please note that the final pan-European mix in the scenario “with CM”, as the outcome of the iterative approach, aims solely to provide an indication of the additional capacity required to comply with existing or approved CM (thus RS) from a global system perspective, with respect to the scenario “without CM”. Identifying the cost-optimal outcome of CM auctions in specific member states is out of the scope of ERAA.
Price caps: how is your approach consistent with the Electricity Regulation (e.g. article 10) and ERAA methodology (e.g. article 7(8))? | See workshop recording
When clustering climate scenarios for EVA. How do you consider the possibility of postponing the use of hydro reserves (hyper-annual reservoirs) for future target years. Do you use some kind of Dynamic Programming tool? | No hyper-annual reservoir optimization is considered. There is no usage of a Dynamic Programming tool. Hydro reservoirs are optimized over (independent) yearly horizons.
Curtailment sharing: could you clarify if are planning to model curtailment sharing/adequacy patch for Flow-Based regions only? | ENTSO-E is developing a tool for integrating the curtailment sharing principles in the optimal economic dispatch model. The aim is to implement the principles to all modelled regions.
You explained that you assume that the capacity added in countries A and B does not affect capacity in country C. Will you please check that assumption. I think that the assumption is incorrect, as it will affect the (very high) prices in hours which would otherwise have curtailemts. | Capacity added in a country (if counted as available on the market) may affect in different ways the market outcome (e.g. prices) of the neighboring countries depending on the contingent availability of generation resources and cross-border interconnector capacity. The iterative approach used to calibrate the capacity in the scenario “with Capacity Mechanism (CM)”, aims solely to provide an indication of the additional capacity required to comply with existing or approved CM from a global system perspective, with respect to the scenario “without CM”. The scenario "with CM" does not aim to identify the cost-optimal outcome of CM auctions in specific member states and their neighbors.
Is or will the model be availabe for research? | See workshop recording
Which modelling language du you use? GAMS, Pyomo, JuMP? | See workshop recording
In the rolling horizon approach, is each step a single-stage optimization for the current year with respect costs, averaged over the climatic scenarios? | See workshop recording
Could you elaborate the reason why you chose this indicator for the clustering? What is the general concept behind it? | See workshop recording
Have you checked (and can you confirm) that the NPV (net present value) of new plants (the ones that are commissioned) is equal to zero? | See workshop recording
What about the temporal resolution of tour long-term planning and dispatch model? are the adequacy criterion endogenous? | See workshop recording
you said there “specific data available” on NGC in the gap years. But the System Operators have not provided that data. Where does that data come from? | See workshop recording
The Electricity Regulation demands price caps to be lifted before CMs are introduced. Isn't therefore a scenario with a much higher VOLL the more relevant scenario, such as the 15k used in the last ERAA? If this step is skipped, the results might say we need CMs, even though we don't. | See workshop recording
you mentioned that consistency between the EVA and economic dispatch model is challenging and highly important at the same time. Have you tested your current EVA approach regarding consistency of the two? | See workshop recording
What about revenues from the intraday market, where the price cap is 10k€, and which is neglected if caps of e.g. 4k€ are set? | See workshop recording
So the price caps utilized in EVA will be 4000 for the first target year and then increased? what is the value of price cap for the last target year? | See workshop recording
will you somehow incorporate the effect of possible sudden administrative price similar to what some countries are implementing in this days? At least to represent the potential lost of trust on market revenues that can arise form this administravie low price caps | See workshop recording
If, in a gap year such as 2028, you use data from the TSOs for NGC, that means that you are not taking into account the decommissioning, commissioning nor life extensions that you have obtained in the previous years (e.g. 2027). Should you not use the NGC of the prior modelled year? | See workshop recording
How does the capacity adaptation fit in with the rolling horizon EVA process? Is it done once after each n-year optimization? | See workshop recording
Is the Capacity Adaptation done simultaneously with EVA or are they separate? | See workshop recording
In multi-country capacity adaptation, how do you determine in which country to start adding capacity, and by how much? | See workshop recording
What is the reliability standard (LOLE value) that you will consider? the LOLE indentified by the member state or one single low LOLE for all the MS? | See workshop recording
if you add capacity in countries A and B, this will depress the prices that generators in country C will obtain (additional electricity will be imported from A and B, depressing the price in C). Therefore, capacity in country C should fall if CM is used in A and B. | See workshop recording
So do you suppose that the capacity contracted in the country A can contribute to the adequacy of country B even if the country B has NOT any CM in place or the CM do not allow the cross border participation? It does not seem coherent with what is foresee for cross border CM participation | See workshop recording
How do you set additional capacity for a specific country? is a LOLE = 0 (over-investment) a good result for your feed-back loop? the fee-back is applied country by country or at an européen level? | See workshop recording
What technologies are mostly used for the iterations with CM, in order to reach RS? | If the results of the EVA step under the “without Capacity Mechanisms (CM)” scenario show that more capacity is needed to fulfil the Reliability Standard (RS) in a member state with an existing or approved CM for a specific target year, we start our iterative approach by re-introducing domestic retired capacity (for that specific target year) following the EVA step. We give priority to the units with lowest FOM (e.g. OCGT before CCGT). In case there is no or not sufficient capacity to re-introduce in the market, we proceed by adding new market capacity, giving priority to the reference technology with the lowest CONE from the CONE study of the member state. Therefore, batteries will be the new entry technology if it has the lowest CONE. In case a compliant CONE study is not yet available, the available technology with lowest CAPEX + FOM is chosen. RES are not included as (dis-)investment candidates in the EVA, as they are treated as policy units following the national estimates in member states. Please note that the final pan-European mix in the scenario “with CM”, as the outcome of the iterative approach, aims solely to provide an indication of the additional capacity required to comply with existing or approved CM (thus RS) from a global system perspective, with respect to the scenario “without CM”. Identifying the cost-optimal outcome of CM auctions in specific member states is out of the scope of ERAA.
Have you considered that a large percentage of DSR comes from heating/cooling, which implies that electricity demand will surge right before DSR is activated or right after the DSR is deactivated, to protect or restore the set-point temperature? | See workshop recording
The PENTAlateral energy forum has launched several studies on different topics related to the methodologies of adequacy studies: EVA, DSR, Climate Change, etc. Do you follow these developments and consider that some of the results can be used in the next ERAA? | See workshop recording
FOM & CAPEX of DSR: are you planning to use separate values for each parameter or follow the same approach with ERAA 2021? How are you planning to estimate these values from existing CONE studies (e.g. simple averages)? | See workshop recording
So for countries that in VOLL/CONE study there is a reference technology different from DSR, no expansion of DSR will be considered without CM, right? | See workshop recording
why DSR is simulated as generator instead of reduced demand? | See workshop recording
You explained that the total amount of energy consumed by heat pumps is preserved when modelling implicit DSR. What is the horizon considered over which the energy consumed is preserved? One day? | See workshop recording
FBMC: Construction and decommissioning of power plants (also in the EVA) change the PTDFs and hence the CNEC selection with every added/removed power plant. How is this effect mapped? | See workshop recording
How many clusters of Flow-based domains are used in the end? Would you publish shadow prices for individually identifiable CNECs? | See workshop recording
Are you going to model the interaction of NTC borders with the FBMC zones in the same way as in ERAA 2021? | See workshop recording
When sharing the curtailments between countries, do you not take into account the fact that one of the countries may have a CM? | See workshop recording
For curtailment sharing, if each bidding zone 'vetos' outflows in case of local shortfalls, does it mean that the sharing methodology only affects how much other zones share with it? Therefore, it only matters when there are multiple zones with shortfall? | See workshop recording
To clarify my previous question: it seems that a 'veto' on exports from a bidding zone is in place when it faces a shortfall. Therefore, are you really "sharing curtailments", or simply "sharing curtailment support" for countries having simultaneous shortfalls *from* other countries? | See workshop recording